## Cover
BESS BANKABILITY ASSESSMENT
CLIENT PROJECT: | [Enter Project Name in Inputs sheet]
HOW TO USE:
1. Go to "Inputs" tab → Edit YELLOW cells
2. Go to "Dashboard" tab → View bankability score
3. Review "Scenarios", "Sensitivity", "CashFlow" tabs
4. DO NOT edit grey/blue cells (formulas only)

## Inputs
BESS BANKABILITY MODEL - INPUTS SHEET
Instructions: Edit YELLOW cells only. GRAY cells contain formulas.
1. PROJECT BASICS
Project Name | [Enter Name] | Project identifier
Country | Select Country | Operating location
Capacity (MW) | 150 | Battery power capacity
Duration (hours) | 2 | Energy storage duration
Energy (MWh) | 300 | Auto-calculated: Capacity x Duration
Round-Trip Efficiency (%) | 0.9 | Battery charge/discharge efficiency (0-1)
Annual Availability (%) | 0.95 | System uptime factor (0-1)
Annual Degradation (%/year) | 0.02 | Battery capacity loss per year
Project Life (years) | 15 | Operating period
2. REVENUE CALCULATION MODE
MASTER CONTROL
Revenue Calculation Method | MARKET | Options: MARKET ¦ ALLOCATION ¦ HYBRID
MARKET = Use granular market inputs below
ALLOCATION = Use percentage splits of total
HYBRID = Calculate market, then adjust via allocation
3. MERCHANT ARBITRAGE REVENUE
--- Day-Ahead Market (DAM) ---
DAM Spread (EUR/MWh) | 50 | Average buy/sell spread in DAM
DAM Cycles per Year | 245 | Number of full cycles (max 365)
DAM Efficiency Factor | 0.95 | Market capture efficiency (0-1)
--- Intraday Market (ID) ---
ID Spread (EUR/MWh) | 70 | Average buy/sell spread in ID market
ID Cycles per Year | 105 | Number of ID cycles
ID Efficiency Factor | 0.9 | Market capture efficiency (0-1)
4. CAPACITY MARKET REVENUE
Enable Capacity Market? | YES | YES/NO - Capacity market participation
Capacity Payment (EUR/MW/year) | 40000 | Annual capacity availability payment
Capacity Contract Duration (years) | 15 | Contract length (max = project life)
Capacity De-rating Factor | 0.85 | Grid operator de-rating (0-1)
5. TOLLING AGREEMENT REVENUE
Enable Tolling? | NO | YES/NO - Tolling agreement active
Tolling Capacity (MW) | 45 | MW under tolling (max = total capacity)
Tolling Fee (EUR/MW/year) | 100000 | Fixed annual payment per MW
Tolling Duration (years) | 5 | Contract length
Tolling Escalation (%/year) | 0.02 | Annual price escalation
6. CONTRACTS FOR DIFFERENCE (CfD)
Enable CfD? | NO | YES/NO - CfD contract active
CfD Type | Standard | Standard / Volatility / Top-Bottom
Strike Price (EUR/MWh) | 85 | Agreed fixed price
Reference Price Assumption (EUR/MWh) | 100 | Expected market price
CfD Volume (MWh/year) | 50000 | Contracted volume
CfD Duration (years) | 15 | Contract length
Counterparty Credit Rating | Investment Grade | Investment Grade / Sub-IG / Unrated
7. ANCILLARY SERVICES REVENUE
--- FCR (Frequency Containment Reserve / Primary) --- |  | Response < 30 seconds
Enable FCR? | YES | YES/NO - FCR participation
FCR Availability Fee (EUR/MW/year) | 35000 | Contracted availability payment
FCR Activation Price (EUR/MWh) | 150 | Payment when dispatched
FCR Capacity (MW) | 30 | MW allocated to FCR
FCR Expected Activations (MWh/year) | 500 | Estimated annual dispatch volume
--- aFRR (Automatic Frequency Restoration / Secondary) --- |  | Auto restore < 5 minutes
Enable aFRR? | YES | YES/NO - aFRR participation
aFRR Availability Fee (EUR/MW/year) | 30000 | Contracted availability payment
aFRR Activation Price (EUR/MWh) | 200 | Payment when dispatched
aFRR Capacity (MW) | 40 | MW allocated to aFRR
aFRR Expected Activations (MWh/year) | 800 | Estimated annual dispatch volume
--- mFRR (Manual Frequency Restoration / Tertiary) --- |  | Manual restore < 12.5 minutes
Enable mFRR? | NO | YES/NO - mFRR participation
mFRR Availability Fee (EUR/MW/year) | 25000 | Contracted availability payment
mFRR Activation Price (EUR/MWh) | 300 | Payment when dispatched
mFRR Capacity (MW) | 30 | MW allocated to mFRR
mFRR Expected Activations (MWh/year) | 400 | Estimated annual dispatch volume
--- RR (Replacement Reserve) --- |  | Longer-term backup reserve
Enable RR? | NO | YES/NO - RR participation
RR Availability Fee (EUR/MW/year) | 20000 | Contracted availability payment
RR Activation Price (EUR/MWh) | 250 | Payment when dispatched
RR Capacity (MW) | 20 | MW allocated to RR
RR Expected Activations (MWh/year) | 200 | Estimated annual dispatch volume
--- Other Grid Services ---
Enable Other Services? | YES | YES/NO - Other grid services
Black Start (EUR/year) | 50000 | Annual black start payment
Voltage Support (EUR/year) | 25000 | Annual voltage support payment
Reactive Power (EUR/year) | 15000 | Annual reactive power payment
8. RENEWABLE INTEGRATION
--- Location & Charging Source ---
BESS Location Type | Standalone | Standalone / Co-located / Remote+PPA
--- Co-location Details (if applicable) ---
Co-located Technology | Solar | Only if Co-located or Remote+PPA
Co-located Capacity (MW) | 0 | MW of paired renewable (0 if N/A)
Charging from Co-located (%) | 0% | % of charging from on-site renewable
--- Remote + PPA/Forward Contract (if applicable) ---
Enable PPA/Forward Contract? | NO | Only applies if Remote+PPA selected
PPA/Forward Price (EUR/MWh) | 45 | Contracted purchase price
PPA/Forward Volume (MWh/year) | 50000 | Annual contracted volume
PPA/Forward Duration (years) | 10 | Contract length in years
Distribution Fee (EUR/MWh) | 15 | Only if Remote+PPA (EUR/MWh)
Transmission Fee (EUR/MWh) | 8 | Only if Remote+PPA (EUR/MWh)
PPA Share of Arbitrage (%) | 30% | % of arbitrage using PPA supply
Market Buy Reference (EUR/MWh) | 60 | Compare to PPA price for benefit
PPA Spread Benefit (Calculated) | 0 | Market Buy - PPA Price
Annual Grid Fee Cost (Calculated) | 0 | Volume x (Dist + Trans)
9. REVENUE ALLOCATION STRATEGY
TARGET REVENUE MIX (Must sum to 100%) |  | Used in ALLOCATION or HYBRID mode
Arbitrage % | 0.35 | DAM + ID arbitrage portion
Capacity % | 0.15 | Capacity market portion
Tolling % | 0.1 | Tolling agreement portion
CfD % | 0.1 | Contracts for Difference portion
Ancillary % | 0.3 | All ancillary services portion
VALIDATION CHECK | 100% | ERROR: Must = 100%
Revenue Risk Preference
Revenue Certainty Level | BALANCED | Options: LOW ¦ BALANCED ¦ HIGH
LOW=Max merchant, BALANCED=Mix, HIGH=Max contracted
10. REVENUE CALCULATION PREVIEW (Year 1)
MARKET-BASED CALCULATION:
- DAM Revenue | 3142125 | Includes PPA benefit if enabled
- ID Revenue | 1786050 | Spread x Cycles x Energy x RTE x Efficiency
- Capacity Revenue | 5100000 | If enabled: Payment x MW x De-rating
- Tolling Revenue | 0 | If enabled: Capacity x Fee
- CfD Revenue | 0 | If enabled: (Strike - Reference) x Volume
- FCR Revenue | 1125000 | If enabled: (Avail Fee x MW) + (Activ Price x MWh)
- aFRR Revenue | 1360000 | If enabled: (Avail Fee x MW) + (Activ Price x MWh)
- mFRR Revenue | 0 | If enabled: (Avail Fee x MW) + (Activ Price x MWh)
- RR Revenue | 0 | If enabled: (Avail Fee x MW) + (Activ Price x MWh)
- Other Services Revenue | 90000 | If enabled: Black Start + Voltage + Reactive
TOTAL MARKET-BASED | 12603175
ALLOCATION-BASED CALCULATION:
- Arbitrage (Allocated) | 4411111.25 | Total Market x Arbitrage %
- Capacity (Allocated) | 1890476.25 | Total Market x Capacity %
- Tolling (Allocated) | 1260317.5 | Total Market x Tolling %
- CfD (Allocated) | 1260317.5 | Total Market x CfD %
- Ancillary (Allocated) | 3780952.5 | Total Market x Ancillary %
TOTAL ALLOCATED | 12603175
ACTIVE REVENUE (Year 1) | 12603175 | Based on selected calculation mode (B18)
11. CAPITAL EXPENDITURE (CAPEX)
Battery System (EUR/kWh) | 210 | Battery + BMS cost per kWh
PCS/Inverter (EUR/kW) | 45 | Power conversion system per kW
Grid Connection (EUR) | 2500000 | Grid infrastructure costs
Land & Development (EUR) | 500000 | Site preparation costs
Other CAPEX (EUR) | 750000 | Engineering, contingency, etc.
TOTAL CAPEX | 73500000 | Battery + PCS + Grid + Land + Other
12. OPERATING EXPENDITURE (OPEX)
Fixed O&M (EUR/kW/year) | 10 | Annual fixed O&M per kW
Variable O&M (EUR/MWh) | 2 | Variable cost per MWh cycled
Insurance (% of CAPEX) | 0.005 | Annual insurance as % of CAPEX
Land Lease (EUR/year) | 50000 | Annual land lease if applicable
Grid Charges (EUR/year) | 100000 | Annual grid connection fees
TOTAL OPEX (Year 1) | 2227500 | Includes Grid Fee if Remote+PPA
(incl. Grid Fee from Renewable Integration) | 0 | Reference to Section 8
13. PROJECT FINANCING
Debt Ratio (%) | 0.7 | Leverage (debt / total cost)
Interest Rate (%) | 0.055 | Annual interest rate
Debt Tenor (years) | 12 | Loan repayment period
Grace Period (years) | 1 | Construction/grace period
DSRA (months) | 6 | Debt service reserve requirement
Target Equity IRR (%) | 0.12 | Investor hurdle rate
Target Min DSCR | 1.3 | Minimum DSCR for lenders
Target Avg DSCR | 1.5 | Average DSCR target
KEY PROJECT METRICS
Total Investment Required | 77175000 | CAPEX + 5% contingency
Debt Amount | 51450000 | Based on debt ratio
Equity Required | 22050000 | Based on debt ratio
Annual Debt Service | 5969703.945 | Principal + Interest (PMT)
Year 1 EBITDA | 10375675 | Active Revenue - OPEX
Year 1 DSCR | 1.7381 | EBITDA / Debt Service
14. TECHNOLOGY CONFIGURATION (For Scoring)
Battery Chemistry | LFP | LFP / NMC / LTO / Sodium-ion / Other
Battery Tier | Tier 1 | Tier 1 / Tier 2 / Tier 3
Warranty Duration (years) | 10 | Battery warranty period
Warranty Throughput | Unlimited | Unlimited / Limited / None
PCS/Inverter Tier | Tier 1 | Tier 1 / Tier 2 / Tier 3
EPC Experience | Experienced | Highly Experienced / Experienced / Limited / None
O&M Strategy | Full Service | Full Service / Hybrid / Self-Perform
Performance Guarantee | YES | YES / NO
Grid Connection Status | Approved | Approved / Under Review / Pre-Application / Not Started
Insurance Coverage | Comprehensive | Comprehensive / Standard / Basic / None
15. USER INSTRUCTIONS
HOW TO USE THIS MODEL:
STEP 1: Choose Revenue Method (B18)
- MARKET = Bottom-up from granular inputs (most detailed)
- ALLOCATION = Top-down using percentage splits
- HYBRID = Calculate market values, apply allocation adjustments
STEP 2: Enter Market Inputs (Sections 3-7)
- Fill all YELLOW cells with your project assumptions
- Use YES/NO dropdowns to enable/disable revenue streams
- All values should reflect Year 1 expectations
STEP 3: Set Allocation Strategy (Section 8)
- Only used if Method = ALLOCATION or HYBRID
- Percentages MUST sum to exactly 100%
- Red error will appear if sum does not equal 100%
STEP 4: Review Revenue Preview (Section 9)
- Shows both calculation methods side-by-side
- Active Revenue (B132) = what model uses downstream
- Compare market-based vs allocated for reasonableness
STEP 5: Complete CAPEX/OPEX/Financing (Sections 10-12)
- Standard project finance inputs
- All cells interconnected with calculations
COLOR CODING:
- YELLOW cells = User inputs (edit these)
- GRAY cells = Formulas (auto-calculated)
- GREEN cells = Results/outputs
VALIDATION RULES:
- Allocation percentages must = 100%
- Tolling capacity cannot exceed total capacity
- Cycles per year cannot exceed 365
- All efficiency factors must be between 0 and 1

## Dashboard
BESS BANKABILITY ASSESSMENT
Project: | [Enter Name] |  | Country: | Select Country
BANKABILITY SCORE
| 89.8199 | / 100
GREEN - BANKABLE
KEY METRICS |  |  | RETURNS
Capacity: | 150 |  | Revenue (Y1): | 12603175
Energy: | 300 |  | EBITDA (Y1): | 10375675
Total CAPEX: | 73500000 |  | Equity IRR: | 19.98%
Debt Amount: | 51450000 |  | Payback: | 5.0046
Equity Required: | 22050000 |  | DSCR: | 1.7381
Annual Debt Service: | 5969703.945 |  | Leverage: | 70%
REVENUE MIX
Stream | Amount (€) | % of Total
Arbitrage (DAM+ID): | 4928175 | 39.1%
Contracted (Cap+Toll+CfD): | 5100000 | 40.47%
Ancillary Services: | 2575000 | 20.43%
TOTAL: | 12603175 | 100%
SCORING BREAKDOWN
Category | Score | Max | Weight | Weighted
Technical | 95 | 100 | 25% | 23.75
Revenue | 80.233 | 100 | 30% | 24.0699
Financial | 90 | 100 | 30% | 27
Regulatory | 100 | 100 | 15% | 15
TOTAL SCORE |  |  |  | 89.8199
RISK SUMMARY |  |  | RISK LEVEL
🔴 Critical Flags: | 0 |  | 🟢 LOW RISK
🟡 Warning Flags: | 0
✅ Checks Passed: | 37
Risk Guide:
Issues by Category: |  |  | 🔴 HIGH = Critical flags
Tech / Rev / Fin / Reg | 0 / 0 / 0 / 0 |  | 🟡 MOD = >5 warnings
🟢 LOW = ≤5 warnings

## Scenarios
SCENARIO ANALYSIS
Compare project performance under different market conditions
SCENARIO DEFINITIONS
Scenario | Bear (P10) | Base (P50) | Bull (P90)
Description | Downside stress | Current inputs | Upside potential
ADJUSTMENT FACTORS
Factor | Bear | Base | Bull | Unit
Revenue Multiplier | 0.85 | 1 | 1.25 | ×
CAPEX Multiplier | 1.1 | 1 | 0.9 | ×
OPEX Multiplier | 1.05 | 1 | 0.95 | ×
Interest Rate Adj | 0.25% | 0% | -0.5% | +/-
SCENARIO INPUTS (After Adjustments)
Input | Bear | Base | Bull | Unit
Total Revenue (Y1) | 10712698.75 | 12603175 | 15753968.75 | €
- Arbitrage | 4188948.75 | 4928175 | 6160218.75 | €
- Contracted | 4335000 | 5100000 | 6375000 | €
- Ancillary | 2188750 | 2575000 | 3218750 | €
Total CAPEX | 80850000 | 73500000 | 66150000 | €
Total OPEX (Y1) | 2338875 | 2227500 | 2116125 | €
Interest Rate | 5.75% | 5.5% | 5% | %
Debt Amount | 56595000 | 51450000 | 46305000 | €
Equity Amount | 24255000 | 22050000 | 19845000 | €
SCENARIO RESULTS
Metric | Bear | Base | Bull | Unit
EBITDA (Y1) | 8373823.75 | 10375675 | 13637843.75 | €
Debt Service | 6658270.037 | 5969703.945 | 5224380.611 | €
Cash Flow to Equity | 1715553.713 | 4405971.055 | 8413463.139 | €
DSCR | 1.2577 | 1.7381 | 2.6104 | x
Equity IRR (Simple) | 7.073% | 19.98% | 42.4% | %
Payback (years) | 14.1383 | 5.0046 | 2.3587 | yrs
CAPEX/kW | 539 | 490 | 441 | €/kW
BANKABILITY | PASS | PASS | PASS
VARIANCE VS BASE CASE
Metric | Bear Δ | Base | Bull Δ | Impact
Revenue Change | -1890476.25 | — | 3150793.75 | €
EBITDA Change | -2001851.25 | — | 3262168.75 | €
IRR Change | -12.91% | — | 22.41% | ppt
DSCR Change | -0.4804 | — | 0.87237 | x
Payback Change | 9.1337 | — | -2.6459 | yrs
SCENARIO SUMMARY
Bear Case Survives? | ✅ YES - Project can service debt under stress
Upside Potential? | 🚀 Strong upside (+30%+ IRR gain)
Risk Assessment: | ✅ LOW - Resilient across scenarios
NOTES & METHODOLOGY
• Bear Case (P10): Represents 10th percentile outcome - conservative stress test
• Base Case (P50): Uses current inputs from Inputs sheet - expected outcome
• Bull Case (P90): Represents 90th percentile outcome - optimistic scenario
• Adjust multipliers in rows 11-14 to customize scenario severity
• Revenue multiplier affects all revenue streams proportionally
• CAPEX/OPEX multipliers adjust cost assumptions
• Interest rate adjustment adds/subtracts from base rate
• Bankability test: DSCR ≥1.0 AND IRR ≥8%
• A bankable project should PASS in Bear case for lender comfort

## Sensitivity
SENSITIVITY ANALYSIS
Impact of individual variable changes on project returns
BASE CASE VALUES
Variable | Value | Unit
Project Capacity | 150 | MW
DAM Spread | 50 | €/MWh
ID Spread | 70 | €/MWh
DAM Cycles | 245 | cycles/yr
CAPEX Total | 73500000 | €
OPEX Total | 2227500 | €/yr
Revenue Total | 12603175 | €/yr
Equity IRR (Base) | 19.98% | %
DSCR (Base) | 1.7381 | x
ONE-WAY SENSITIVITY: IMPACT ON EQUITY IRR
Variable | -20% | -10% | Base | +10% | +20%
Revenue (Total) | 17.98% | 18.98% | 19.98% | 20.98% | 21.98%
DAM Spread | 18.78% | 19.38% | 19.98% | 20.58% | 21.18%
ID Spread | 19.38% | 19.68% | 19.98% | 20.28% | 20.58%
Cycles | 18.98% | 19.48% | 19.98% | 20.48% | 20.98%
Capacity Price | 19.38% | 19.68% | 19.98% | 20.28% | 20.58%
CAPEX | 21.18% | 20.58% | 19.98% | 19.38% | 18.78%
OPEX | 20.58% | 20.28% | 19.98% | 19.68% | 19.38%
Interest Rate | 20.3% | 20.14% | 19.98% | 19.82% | 19.66%
Debt Ratio | 19.86% | 19.92% | 19.98% | 20.04% | 20.1%
ONE-WAY SENSITIVITY: IMPACT ON DSCR
Variable | -20% | -10% | Base | +10% | +20%
Revenue (Total) | 1.599 | 1.6685 | 1.7381 | 1.8076 | 1.8771
DAM Spread | 1.6512 | 1.6946 | 1.7381 | 1.7815 | 1.825
OPEX | 1.8076 | 1.7728 | 1.7381 | 1.7033 | 1.6685
Interest Rate | 1.7902 | 1.7641 | 1.7381 | 1.712 | 1.6859
Debt Ratio | 1.825 | 1.7815 | 1.7381 | 1.6946 | 1.6512
TORNADO CHART DATA (IRR Impact at ±20%)
Variable | Low (-20%) | High (+20%) | Range
Revenue | 17.98% | 21.98% | 3.996%
CAPEX | 21.18% | 18.78% | 2.398%
DAM Spread | 18.78% | 21.18% | 2.398%
Cycles | 18.98% | 20.98% | 1.998%
OPEX | 20.58% | 19.38% | 1.199%
ID Spread | 19.38% | 20.58% | 1.199%
Interest Rate | 20.3% | 19.66% | 0.6394%
BREAK-EVEN ANALYSIS
Variable | Base Value | Break-even Change | At DSCR = 1.0
Revenue Decline | 12603175 | -32% | Would fail debt coverage
CAPEX Increase | 73500000 | +45% | Would still pass at 1.0x
OPEX Increase | 2227500 | +160% | Less sensitive to OPEX
Spread Decline (DAM) | 50 | -55% | Spread compression limit
NOTES & METHODOLOGY
• Sensitivity factors are linear approximations based on typical project finance relationships
• Actual impacts may vary due to non-linear effects and interdependencies
• For precise sensitivity, change individual inputs and observe results
KEY RELATIONSHIPS:
• Revenue ↑ → EBITDA ↑ → DSCR ↑ → IRR ↑
• CAPEX ↑ → Equity Required ↑ → IRR ↓ (inverse relationship)
• OPEX ↑ → EBITDA ↓ → DSCR ↓ → IRR ↓
• Interest Rate ↑ → Debt Service ↑ → DSCR ↓ → Cash to Equity ↓ → IRR ↓
• Debt Ratio ↑ → Less Equity, More Leverage → IRR ↑ (but DSCR ↓)
SENSITIVITY FACTORS USED:
• Revenue: 0.50x (±10% revenue → ±5% IRR change)
• CAPEX: -0.30x (±10% CAPEX → ∓3% IRR change)
• OPEX: -0.15x (±10% OPEX → ∓1.5% IRR change)

## CashFlow
15-YEAR PROJECT CASH FLOW
All values in EUR. Revenues adjusted for degradation. OPEX escalated at 2%/year.
Year | Degrad. | Arbitrage | Contracted | Ancillary | Total Rev | OPEX | EBITDA | Deprec. | EBIT | Tax | NOPAT | Add Depr | Debt Svc | Aug CAPEX | FCF Equity | Cumul FCF
0 | [14 empty] | -22050000 | -22050000
1 | 98% | 4829611.5 | 5100000 | 2523500 | 12453111.5 | 2227500 | 10225611.5 | 4900000 | 5325611.5 | 852097.84 | 4473513.66 | 4900000 | 5969703.945 | 0 | 3403809.715 | -18646190.28
2 | 96.04% | 4733019.27 | 5100000 | 2473030 | 12306049.27 | 2272050 | 10033999.27 | 4900000 | 5133999.27 | 821439.8832 | 4312559.387 | 4900000 | 5969703.945 | 0 | 3242855.442 | -15403334.84
3 | 94.12% | 4638358.885 | 5100000 | 2423569.4 | 12161928.28 | 2317491 | 9844437.285 | 4900000 | 4944437.285 | 791109.9655 | 4153327.319 | 4900000 | 5969703.945 | 0 | 3083623.374 | -12319711.47
4 | 92.24% | 4545591.707 | 5100000 | 2375098.012 | 12020689.72 | 2363840.82 | 9656848.899 | 4900000 | 4756848.899 | 761095.8238 | 3995753.075 | 4900000 | 5969703.945 | 0 | 2926049.13 | -9393662.338
5 | 90.39% | 4454679.873 | 5100000 | 2327596.052 | 11882275.92 | 2411117.636 | 9471158.288 | 4900000 | 4571158.288 | 731385.3261 | 3839772.962 | 4900000 | 5969703.945 | 0 | 2770069.017 | -6623593.321
6 | 88.58% | 4365586.275 | 5100000 | 2281044.131 | 11746630.41 | 2459339.989 | 9287290.417 | 4900000 | 4387290.417 | 701966.4667 | 3685323.95 | 4900000 | 5969703.945 | 0 | 2615620.005 | -4007973.316
7 | 86.81% | 4278274.55 | 5100000 | 2235423.248 | 11613697.8 | 2508526.789 | 9105171.009 | 4900000 | 4205171.009 | 672827.3614 | 3532343.648 | 4900000 | 5969703.945 | 0 | 2462639.703 | -1545333.613
8 | 85.08% | 4192709.059 | 5100000 | 2190714.783 | 11483423.84 | 2558697.325 | 8924726.517 | 4900000 | 4024726.517 | 643956.2428 | 3380770.275 | 4900000 | 5969703.945 | 0 | 2311066.33 | 765732.7168
9 | 83.37% | 4108854.878 | 5100000 | 2146900.487 | 11355755.37 | 2609871.271 | 8745884.094 | 4900000 | 3845884.094 | 615341.455 | 3230542.639 | 4900000 | 5969703.945 | 0 | 2160838.694 | 2926571.411
10 | 81.71% | 4026677.78 | 5100000 | 2103962.478 | 11230640.26 | 2662068.697 | 8568571.561 | 4900000 | 3668571.561 | 586971.4498 | 3081600.111 | 4900000 | 5969703.945 | 12600000 | -10588103.83 | -7661532.423
11 | 80.07% | 3946144.224 | 5100000 | 2061883.228 | 11108027.45 | 2715310.071 | 8392717.382 | 4900000 | 3492717.382 | 558834.7811 | 2933882.601 | 4900000 | 5969703.945 | 0 | 1864178.656 | -5797353.766
12 | 78.47% | 3867221.34 | 5100000 | 2020645.564 | 10987866.9 | 2769616.272 | 8218250.632 | 4900000 | 3318250.632 | 530920.1011 | 2787330.531 | 4900000 | 5969703.945 | 0 | 1717626.586 | -4079727.181
13 | 76.9% | 3789876.913 | 5100000 | 1980232.652 | 10870109.57 | 2825008.597 | 8045100.968 | 4900000 | 3145100.968 | 503216.1549 | 2641884.813 | 4900000 | 0 | 0 | 7541884.813 | 3462157.633
14 | 75.36% | 3714079.375 | 5100000 | 1940627.999 | 10754707.37 | 2881508.769 | 7873198.605 | 4900000 | 2973198.605 | 475711.7768 | 2497486.828 | 4900000 | 0 | 0 | 7397486.828 | 10859644.46
15 | 73.86% | 3639797.787 | 5100000 | 1901815.439 | 10641613.23 | 2939138.945 | 7702474.282 | 4900000 | 2802474.282 | 448395.8851 | 2354078.397 | 4900000 | 0 | 0 | 7254078.397 | 18113722.86
SUMMARY
Total Revenue (15yr) | 172616526.9
Total OPEX (15yr) | 38521086.18
Total EBITDA (15yr) | 134095440.7
Total Depreciation | 73500000
Total Tax Paid | 9695270.513
Total Debt Service | 71636447.34
Augmentation CAPEX | 12600000
Cumulative FCF (15yr) | 18113722.86
Payback Year | 8
KEY METRICS
Initial Equity Investment | 22050000
Average Annual FCF | 2677581.524
Min Annual FCF | -10588103.83
Max Annual FCF | 7541884.813
NPV (@ 10%) | -2289001.715
Project IRR | 7.953%
DEBT SCHEDULE
Year | Open Bal | Interest | Principal | Close Bal
0 | 0 | 0 | 0 | 51450000
1 | 51450000 | 2829750 | 3139953.945 | 48310046.06
2 | 48310046.06 | 2657052.533 | 3312651.412 | 44997394.64
3 | 44997394.64 | 2474856.705 | 3494847.239 | 41502547.4
4 | 41502547.4 | 2282640.107 | 3687063.838 | 37815483.57
5 | 37815483.57 | 2079851.596 | 3889852.349 | 33925631.22
6 | 33925631.22 | 1865909.717 | 4103794.228 | 29821836.99
7 | 29821836.99 | 1640201.034 | 4329502.91 | 25492334.08
8 | 25492334.08 | 1402078.374 | 4567625.57 | 20924708.51
9 | 20924708.51 | 1150858.968 | 4818844.977 | 16105863.53
10 | 16105863.53 | 885822.4943 | 5083881.451 | 11021982.08
11 | 11021982.08 | 606209.0145 | 5363494.93 | 5658487.151
12 | 5658487.151 | 311216.7933 | 5658487.151 | 0
13 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0
Total Interest Paid | 20186447.34
Total Principal Paid | 51450000
NOTES & ASSUMPTIONS
Revenue Assumptions:
• Arbitrage & Ancillary revenues decline with battery degradation
• Contracted revenues (Capacity, Tolling, CfD) remain constant
• No revenue escalation assumed
Cost Assumptions:
• OPEX escalated at 2% per year
• Depreciation: Straight-line over 15 years
• Tax rate: 16%
• Augmentation CAPEX in Year 10: 20% battery replacement
Financing:
• Debt Service: Level annuity (PMT function)
• Debt fully repaid by end of tenor

## Calc
CALCULATIONS - DO NOT EDIT |  |  | BANKABILITY SCORING
|  |  | Category | Points | Max
MW | 150 | Capacity
MWh | 300 | Energy | TECHNICAL (25%) |  | 100
CAPEX | 73500000 | Total CAPEX | Battery Chemistry | 10 | 10
OPEX | 2227500 | Total OPEX Year 1 | Battery Tier | 15 | 15
RTE | 0.9 | Round-trip efficiency | Warranty Duration | 10 | 10
Availability | 0.95 | Annual availability | Warranty Throughput | 10 | 10
Degradation | 2% | Annual degradation | PCS Tier | 10 | 10
ProjectLife | 1500% | Project life years | EPC Experience | 10 | 15
ActiveRevenue | 12603175 | Active revenue Year 1 | O&M Strategy | 10 | 10
|  | DAM calculated | Performance Guarantee | 10 | 10
DebtRatio | 70% | Debt ratio | Insurance Coverage | 10 | 10
Interest | 5.5% | Interest rate | TECH TOTAL | 95 | 100
Tenor | 12 | Debt tenor
TargetIRR | 12% | Target equity IRR | REVENUE (30%) |  | 100
|  |  | Revenue Diversity | 15 | 25
Debt | 51450000 |  | Contract Coverage % | 20.233 | 25
Equity | 22050000 |  | Counterparty Credit | 20 | 20
DebtService | 5969703.945 |  | Revenue Certainty | 10 | 15
|  |  | Contract Duration | 15 | 15
Total Revenue (from Inputs) | 12603175 |  | REVENUE TOTAL | 80.233 | 100
EBITDA | 10375675
Payback | 5.0046 |  | FINANCIAL (30%) |  | 100
SimpleIRR | 0.19982 |  | DSCR Score | 25 | 25
TECH INPUTS |  |  | IRR vs Hurdle | 25 | 25
Battery_Chem | LFP |  | Leverage Ratio | 15 | 20
Battery_Tier | Tier 1 |  | Payback Period | 15 | 15
Warranty_Yrs | 10 |  | CAPEX/kW Benchmark | 10 | 15
Warranty_TP | Unlimited
PCS_Tier | Tier 1 |  | FINANCIAL TOTAL | 90 | 100
EPC_Exp | Experienced
OM_Strat | Full Service |  | REGULATORY (15%) |  | 100
Perf_Guar | YES |  | Grid Connection | 60 | 60
Grid_Stat | Approved |  | Reserved (Permits) | 20 | 20
Rev_Off | 0 |  | Reserved (Environmental) | 20 | 20
Insurance | Comprehensive
|  |  | REGULATORY TOTAL | 100 | 100
DAM_Rev | 3142125
ID_Rev | 1786050 |  | WEIGHTED FINAL SCORE
Capacity_Rev | 5100000
Tolling_Rev | 0 |  | Technical | 95 | × 25% | 23.75
CfD_Rev | 0 |  | Revenue | 80.233 | × 30% | 24.0699
Ancillary_Rev | 2575000 |  | Financial | 90 | × 30% | 27
|  |  | Regulatory | 100 | × 15% | 15
Total_Arbitrage | 4928175
Total_Contracted | 5100000 |  | TOTAL SCORE |  |  | 89.8199
Total_Ancillary | 2575000
Total_Revenue | 1260317500% |  | RATING |  |  | GREEN - BANKABLE
Arbitrage (Market-Based)
Arbitrage_% | 0.39103 |  | RISK WARNINGS
Contracted_% | 0.40466 |  | Critical Flags | 0
Ancillary_% | 0.20431 |  | Warning Flags | 0
Revenue Diversity Score | 64.1605 |  | Checks Passed | 37
DSCR | 1.7381 |  | Risk Level | 🟢 LOW RISK

## Risk_Warnings
AUTOMATED RISK WARNINGS & FLAGS
SEVERITY | CATEGORY | THRESHOLD | ACTUAL VALUE
TECHNICAL
| TECH | Tier 1/2 required | Tier 1
| TECH | Must be specified | Tier 1
| TECH | ≥7 years | 10 years
| TECH | Limited/Unlimited | Unlimited
| TECH | Tier 1/2 required | Tier 1
| TECH | Experience required | Experienced
| TECH | Experienced preferred | Experienced
| TECH | YES required | YES
| TECH | Insurance required | Comprehensive
| TECH | Standard+ preferred | Comprehensive
REVENUE
| REVENUE | ≤70% merchant | 39%
| REVENUE | ≤50% preferred | 39%
| REVENUE | ≥20% contracted | 40%
| REVENUE | Rated preferred | Investment Grade
| REVENUE | Balanced+ preferred | 45
| REVENUE | ≥5 years preferred | 15 years
FINANCIAL
| FINANCIAL | DSCR ≥1.0 | 1.74
| FINANCIAL | DSCR ≥1.2 preferred | 1.74
| FINANCIAL | IRR ≥8% | 20.0%
| FINANCIAL | IRR ≥10% preferred | 20.0%
| FINANCIAL | ≤15 years | 5.0 yrs
| FINANCIAL | ≤12 years preferred | 5.0 yrs
| FINANCIAL | ≤80% debt | 70%
| FINANCIAL | ≤75% preferred | 70%
| FINANCIAL | ≤700 €/kW | 490 €/kW
| FINANCIAL | ≤550 €/kW preferred | 490 €/kW
| FINANCIAL | Bear DSCR ≥1.2 | 1.26x
REGULATORY
| REGULATORY | Process started | Approved
| REGULATORY | Under Review+ | Approved
| REGULATORY | ≥10 MW preferred | 150 MW
| REGULATORY | ≤300 MW typical | 150 MW
| REGULATORY | ≤6 hour duration | 2.0 hrs
RISK SUMMARY
🔴 CRITICAL Flags: | 0
🟡 WARNING Flags: | 0
✅ Checks Passed: | 37
By Category:
Technical Issues | 0
Revenue Issues | 0
Financial Issues | 0
Regulatory Issues | 0
OVERALL RISK LEVEL: | 🟢 LOW RISK
Risk Level Guide:
🔴 HIGH RISK: Any critical flag present - address before financing
🟡 MODERATE: >5 warnings - review and mitigate
🟢 LOW RISK: ≤5 warnings, no criticals - proceed with standard due diligence

## PL_Summary
PROFIT & LOSS STATEMENT
15-Year Projection (EUR thousands)
Item | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | TOTAL
REVENUE
Arbitrage Revenue | 4829.6115 | 4733.0193 | 4638.3589 | 4545.5917 | 4454.6799 | 4365.5863 | 4278.2746 | 4192.7091 | 4108.8549 | 4026.6778 | 3946.1442 | 3867.2213 | 3789.8769 | 3714.0794 | 3639.7978 | 63130.4834
Contracted Revenue | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 5100 | 76500
Ancillary Revenue | 2523.5 | 2473.03 | 2423.5694 | 2375.098 | 2327.5961 | 2281.0441 | 2235.4232 | 2190.7148 | 2146.9005 | 2103.9625 | 2061.8832 | 2020.6456 | 1980.2327 | 1940.628 | 1901.8154 | 32986.0435
TOTAL REVENUE | 12453.1115 | 12306.0493 | 12161.9283 | 12020.6897 | 11882.2759 | 11746.6304 | 11613.6978 | 11483.4238 | 11355.7554 | 11230.6403 | 11108.0274 | 10987.8669 | 10870.1096 | 10754.7074 | 10641.6132 | 172616.5269
OPERATING COSTS
Operating Expenses | -2227.5 | -2272.05 | -2317.491 | -2363.8408 | -2411.1176 | -2459.34 | -2508.5268 | -2558.6973 | -2609.8713 | -2662.0687 | -2715.3101 | -2769.6163 | -2825.0086 | -2881.5088 | -2939.1389 | -38521.0862
EBITDA | 10225.6115 | 10033.9993 | 9844.4373 | 9656.8489 | 9471.1583 | 9287.2904 | 9105.171 | 8924.7265 | 8745.8841 | 8568.5716 | 8392.7174 | 8218.2506 | 8045.101 | 7873.1986 | 7702.4743 | 134095.4407
Depreciation | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -4900 | -73500
EBIT | 5325.6115 | 5133.9993 | 4944.4373 | 4756.8489 | 4571.1583 | 4387.2904 | 4205.171 | 4024.7265 | 3845.8841 | 3668.5716 | 3492.7174 | 3318.2506 | 3145.101 | 2973.1986 | 2802.4743 | 60595.4407
Interest Expense | -2829.75 | -2657.0525 | -2474.8567 | -2282.6401 | -2079.8516 | -1865.9097 | -1640.201 | -1402.0784 | -1150.859 | -885.8225 | -606.209 | -311.2168 | 0 | 0 | 0 | -20186.4473
EBT (Profit Before Tax) | 2495.8615 | 2476.9467 | 2469.5806 | 2474.2088 | 2491.3067 | 2521.3807 | 2564.97 | 2622.6481 | 2695.0251 | 2782.7491 | 2886.5084 | 3007.0338 | 3145.101 | 2973.1986 | 2802.4743 | 40408.9934
Income Tax (16%) | -852.0978 | -821.4399 | -791.11 | -761.0958 | -731.3853 | -701.9665 | -672.8274 | -643.9562 | -615.3415 | -586.9714 | -558.8348 | -530.9201 | -503.2162 | -475.7118 | -448.3959 | -9695.2705
NET INCOME | 1643.7637 | 1655.5069 | 1678.4706 | 1713.113 | 1759.9214 | 1819.4142 | 1892.1426 | 1978.6919 | 2079.6837 | 2195.7776 | 2327.6736 | 2476.1137 | 2641.8848 | 2497.4868 | 2354.0784 | 30713.7229
CASH FLOW BRIDGE
Net Income | 1643.7637 | 1655.5069 | 1678.4706 | 1713.113 | 1759.9214 | 1819.4142 | 1892.1426 | 1978.6919 | 2079.6837 | 2195.7776 | 2327.6736 | 2476.1137 | 2641.8848 | 2497.4868 | 2354.0784 | 30713.7229
+ Depreciation | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 73500
- Debt Principal | -3139.9539 | -3312.6514 | -3494.8472 | -3687.0638 | -3889.8523 | -4103.7942 | -4329.5029 | -4567.6256 | -4818.845 | -5083.8815 | -5363.4949 | -5658.4872 | 0 | 0 | 0 | -51450
- Augmentation CAPEX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12600 | 0 | 0 | 0 | 0 | 0 | -12600
FREE CASH FLOW TO EQUITY | 3403.8097 | 3242.8554 | 3083.6234 | 2926.0491 | 2770.069 | 2615.62 | 2462.6397 | 2311.0663 | 2160.8387 | -10588.1038 | 1864.1787 | 1717.6266 | 7541.8848 | 7397.4868 | 7254.0784 | 40163.7229
Cumulative FCF | 3403.8097 | 6646.6652 | 9730.2885 | 12656.3377 | 15426.4067 | 18042.0267 | 20504.6664 | 22815.7327 | 24976.5714 | 14388.4676 | 16252.6462 | 17970.2728 | 25512.1576 | 32909.6445 | 40163.7229 | 40163.7229
KEY METRICS
Total Revenue (15yr) | Year 1: 172616526.9
Total EBITDA (15yr) | Year 1: 134095440.7
Total Net Income (15yr) | Year 1: 30713722.86
Total FCF to Equity (15yr) | Year 1: 40163722.86
EBITDA Margin (avg) | Year 1: 77.68%
Net Income Margin (avg) | Year 1: 17.79%
Initial Equity Investment | Year 1: 22050000
Cash-on-Cash Return | Year 1: 182.1%
NOTES
• All values in EUR thousands (000s) except Key Metrics
• Revenue includes degradation adjustment for energy-based streams
• Contracted revenue (Capacity, Tolling, CfD) remains constant
• OPEX escalated at 2% per year
• Depreciation: Straight-line over 15 years
• Tax rate: 16% on positive EBT
• Augmentation CAPEX in Year 10: 20% battery replacement